## Pressure Drop
ClimateMaster Pressure Drop v1.85 Legacy Version For Use With Magna 25-140
|  | Customer: | [5 empty] | Antifreeze: | M | Methanol
|  | Address: | [5 empty] | % Antifreeze by vol.: | 25 | %
|  | Address: | [5 empty] | Number of circuits: | 3
|  | Pump: | 1-Grundfos 26-99
|  | Unit #1: | TBW120 |  | Tranquility Med. Temp. W-to-W Closed Loop |  |  | 10 tons | gpm | 30
|  | Unit |  |  | 20.5292 | ft. of head x | 1.0081 | Antifreeze corr. fact. = | 20.6955 | ft. of hd.
|  | 1" Hose Kit |  |  | 10 | ft. of hose x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd.
|  | 1-1/4" Inside Piping |  |  | 60 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd.
[8 empty] | Total Unit #1: | #VALUE! | ft. of hd.
|  | Unit #2: | [6 empty] | gpm
|  | Unit |  |  |  | ft. of head x |  | Antifreeze corr. fact. = |  | ft. of hd.
|  | 1" Hose Kit |  |  | 4 | ft. of hose x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd.
|  | 1-1/4" Inside Piping |  |  | 30 | ft. of pipe x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd.
[8 empty] | Total Unit #2: |  | ft. of hd.
|  | Unit #3: | [6 empty] | gpm
|  | Unit |  |  |  | ft. of head x |  | Antifreeze corr. fact. = |  | ft. of hd.
|  | 1" Hose Kit |  |  | 4 | ft. of hose x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd.
|  | 1-1/4" Inside Piping |  |  | 30 | ft. of pipe x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd.
1 | 2 | [6 empty] | Total Unit #3: |  | ft. of hd.
|  | Unit Total (Largest of Total Unit #1, #2, and #3 - Units must be piped in parallel): | [6 empty] | #VALUE! | ft. of hd.
Inside Supply & Return Piping
|  | Pipe size: | 1.25 | in. |  | Total gpm: | 30 | (Design flow rate)
[5 empty] | 10 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd.
Outside Supply & Return Piping
|  | Pipe size: | 1.25 | in. |  | Total gpm: | 30
[5 empty] | 100 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd.
Circuit Piping
|  | Pipe size: | 0.75 | in. |  | Design GPM/ckt: | 10 | Actual GPM/ckt = | 4 | gpm
[5 empty] | 480 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd.
|  | Fittings |  |  |  |  | 10 | (number of fittings) | 2 | ft. of hd.
|  | Total Pressure Drop (A + B + C + D + E): |  |  |  |  | #VALUE! |  | #VALUE! | ft. of hd.**
FLOW RATE IS BELOW MINIMUM!!
Determine Pump Sizing Curve Coordinates
|  | Tot. gpm (3 gpm/ton) = |  |  | 30
|  | Tot. pres. drop (Ft hd)= |  |  | #VALUE!
|  | Tot. gpm x 2/3 = |  |  | 20
|  | PD=(Q2^2)(h1)/(Q1^2) |  |  | #VALUE!
|  | Tot. gpm x 4/3 = |  |  | 40
|  | PD=(Q3^2)(h1)/(Q1^2) |  |  | #VALUE!
Plot System Curve & Determine Which Flow
Controller Will Produce Desired Flow Rate.
|  | Pump Sys = 12 gpm |  |  | (to the nearest gpm)
|  | Verify Circuit Reynolds Number: |  |  |  | #VALUE!
#VALUE!
Calculate the Amount of Antifreeze Needed
|  | (Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons
|  | (Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons
|  | (Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons
|  | (Pipe size: | 1.5 | ) | 0 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 0 | gallons
[8 empty] | Total fluid in loop: | 82.94 | gallons**
[6 empty] | Freeze Point of Selected Antifreeze: | #VALUE! | Antifreeze x | 25 | % by vol.
|  | **Includes coax & flush cart. | [5 empty] | Total antifreeze req.: | 20.735 | gallons
[8 empty] | Flushing requirements: | #VALUE!
point A
point B
point C
Q1
h1
Q2
h2
Q3
h3
x
y
x
y
x
y

## PumpCurves (hidden)
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
VS Pumps |  | 1-UPS60-150U Low | 38.516 | 37.3398 | 36.1636 | 34.0851 | 32.0066 | 29.5931 | 27.1795 | 24.8075 | 22.4354 | 20.3289 | 18.2225 | 16.4878 | 14.7531 | 13.4096 | 12.0662 | 11.0742 | 10.0822 | 9.3669 | 8.6516 | 8.1237 | 7.5958 | 7.1688 | 6.7418 | 6.3454 | 5.9489 | 5.539 | 5.1292 | 4.695 | 4.2607 | 3.8273 | 3.3939 | 3.0221 | 2.7 | 2.4326 | 2.2 | 2.2687 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1-UPS60-150U Med | 44.6219 | 43.9239 | 43.2258 | 42.4291 | 41.6323 | 40.7259 | 39.8194 | 38.8088 | 37.7983 | 36.701 | 35.6038 | 34.4447 | 33.2855 | 32.0931 | 30.9007 | 29.704 | 28.5074 | 27.3334 | 26.1594 | 25.0308 | 23.9023 | 22.8361 | 21.7699 | 20.7764 | 19.783 | 18.8653 | 17.9476 | 17.1019 | 16.2563 | 15.4725 | 14.6887 | 13.9516 | 13.2145 | 12.5058 | 11.7971 | 11.0975 | 10.398 | 9.6904 | 8.9828 | 8.2555 | 7.5283 | 6.7793 | 6.0304 | 5.2719 | 4.5134 | 3.7768 | 3.0401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1-UPS60-150U High | 46.4399 | 45.9303 | 45.4208 | 44.9101 | 44.3994 | 43.8642 | 43.329 | 42.754 | 42.1789 | 41.5554 | 40.9318 | 40.2564 | 39.5809 | 38.8541 | 38.1273 | 37.3527 | 36.578 | 35.7609 | 34.9437 | 34.0905 | 33.2373 | 32.3547 | 31.4722 | 30.5667 | 29.6612 | 28.7384 | 27.8157 | 26.8803 | 25.9448 | 24.9999 | 24.055 | 23.1024 | 22.1498 | 21.19 | 20.2301 | 19.2623 | 18.2944 | 17.3168 | 16.3392 | 15.3497 | 14.3602 | 13.3567 | 12.3532 | 11.3342 | 10.3153 | 9.2811 | 8.247 | 7.2003 | 6.1536 | 5.1006 | 4.0476 | 2.9993 | 1.951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  | 2-UPS60-150U Low | 77.032 | 74.6796 | 72.3271 | 68.1702 | 64.0132 | 59.1861 | 54.359 | 49.6149 | 44.8708 | 40.6579 | 36.4449 | 32.9756 | 29.5062 | 26.8193 | 24.1324 | 22.1484 | 20.1644 | 18.7338 | 17.3032 | 16.2474 | 15.1917 | 14.3377 | 13.4837 | 12.6907 | 11.8978 | 11.0781 | 10.2584 | 9.3899 | 8.5215 | 7.6546 | 6.7878 | 6.0441 | 5.3 | 4.8653 | 4.4 | 4.5374 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2-UPS60-150U Med | 89.2438 | 87.8477 | 86.4517 | 84.8582 | 83.2647 | 81.4517 | 79.6388 | 77.6177 | 75.5966 | 73.4021 | 71.2076 | 68.8893 | 66.5711 | 64.1863 | 61.8014 | 59.4081 | 57.0147 | 54.6668 | 52.3188 | 50.0617 | 47.8046 | 45.6722 | 43.5399 | 41.5529 | 39.5659 | 37.7306 | 35.8952 | 34.2039 | 32.5125 | 30.9449 | 29.3773 | 27.9032 | 26.429 | 25.0116 | 23.5942 | 22.1951 | 20.7959 | 19.3807 | 17.9655 | 16.5111 | 15.0566 | 13.5587 | 12.0608 | 10.5438 | 9.0268 | 7.5535 | 6.0802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2-UPS60-150U High | 92.8797 | 91.8606 | 90.8415 | 89.8202 | 88.7988 | 87.7284 | 86.658 | 85.5079 | 84.3578 | 83.1108 | 81.8637 | 80.5128 | 79.1618 | 77.7083 | 76.2547 | 74.7054 | 73.156 | 71.5218 | 69.8875 | 68.181 | 66.4746 | 64.7094 | 62.9443 | 61.1333 | 59.3224 | 57.4769 | 55.6314 | 53.7605 | 51.8896 | 49.9998 | 48.1099 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  | 1-UPS32-160 Low | 40.3 | 39.9989 | 39.6203 | 39.2814 | 38.9424 | 38.5249 | 38.0507 | 37.5764 | 37.1022 | 36.6279 | 36.1537 | 35.6794 | 35.1667 | 34.5 | 33.8333 | 33.1667 | 32.4143 | 31.6524 | 30.8905 | 30.1286 | 29.2583 | 28.3385 | 27.4154 | 26.4923 | 25.4182 | 24.3429 | 23.281 | 22.2333 | 21.125 | 19.8882 | 18.7706 | 17.6111 | 16.3889 | 15.1286 | 13.8429 | 12.58 | 11.34 | 10.1 | 8.8455 | 7.565 | 6.2817 | 5.0483 | 3.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1-UPS32-160 Med | 43.3 | 42.9825 | 42.6704 | 42.3601 | 42.0499 | 41.7396 | 41.4248 | 41.1062 | 40.7876 | 40.469 | 40.1504 | 39.8319 | 39.4447 | 39.05 | 38.6553 | 38.2548 | 37.8024 | 37.35 | 36.8976 | 36.4452 | 35.95 | 35.45 | 34.95 | 34.45 | 33.95 | 33.2207 | 32.6 | 31.9415 | 31.2829 | 30.6244 | 29.9659 | 29.1957 | 28.413 | 27.6364 | 26.8636 | 26.0667 | 25.2333 | 24.39 | 23.54 | 22.68 | 21.805 | 20.855 | 19.9091 | 19 | 18.0909 | 17.1273 | 16.1576 | 15.1879 | 14.2 | 13.25 | 12.3125 | 11.375 | 10.4 | 9.4224 | 8.4544 | 7.5 | 6.6 | 0 | 0 | 0 | 0
|  | 1-UPS32-160 High | 45.2 | 45.12 | 44.9722 | 44.8085 | 44.6448 | 44.4812 | 44.3175 | 44.1538 | 43.9879 | 43.7864 | 43.585 | 43.3835 | 43.1821 | 42.9806 | 42.7355 | 42.4613 | 42.1871 | 41.9129 | 41.6387 | 41.3645 | 41.0625 | 40.7188 | 40.375 | 40.0278 | 39.6667 | 39.3056 | 38.9444 | 38.5577 | 38.1538 | 37.75 | 37.3462 | 36.9423 | 36.5057 | 36.02 | 35.5343 | 35.0486 | 34.55 | 34.05 | 33.5179 | 32.9538 | 32.3897 | 31.8256 | 31.2444 | 30.6519 | 30.0593 | 29.4375 | 28.8125 | 28.1458 | 27.4375 | 26.7292 | 26.0208 | 25.3125 | 24.6059 | 23.9 | 23.0892 | 22.2784 | 21.4676 | 20.6333 | 19.764 | 18.924 | 18.084
7 |  | 2-UPS32-160 Low | 80.6 | 79.9977 | 79.2407 | 78.5627 | 77.8847 | 77.0499 | 76.1014 | 75.1528 | 74.2043 | 73.2558 | 72.3073 | 71.3588 | 70.3333 | 69 | 67.6667 | 66.3333 | 64.8286 | 63.3048 | 61.781 | 60.2571 | 58.5167 | 56.6769 | 54.8308 | 52.9846 | 50.8364 | 48.6857 | 46.5619 | 44.4667 | 42.25 | 39.7765 | 37.5412 | 35.2222 | 32.7778 | 30.2571 | 27.6857 | 25.16 | 22.68 | 20.2 | 17.6909 | 15.13 | 12.5633 | 10.0967 | 7.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2-UPS32-160 Med | 86.6 | 85.9651 | 85.3408 | 84.7203 | 84.0998 | 83.4792 | 82.8496 | 82.2124 | 81.5752 | 80.9381 | 80.3009 | 79.6637 | 78.8895 | 78.1 | 77.3105 | 76.5095 | 75.6048 | 74.7 | 73.7952 | 72.8905 | 71.9 | 70.9 | 69.9 | 68.9 | 67.9 | 66.4414 | 65.2 | 63.8829 | 62.5659 | 61.2488 | 59.9317 | 58.3913 | 56.8261 | 55.2727 | 53.7273 | 52.1333 | 50.4667 | 48.78 | 47.08 | 45.36 | 43.61 | 41.71 | 39.8182 | 38 | 36.1818 | 34.2545 | 32.3152 | 30.3758 | 28.4 | 26.5 | 24.625 | 22.75 | 20.8 | 18.8448 | 16.9088 | 15 | 13.2 | 0 | 0 | 0 | 0
|  | 2-UPS32-160 High | 90.4 | 90.24 | 89.9444 | 89.617 | 89.2897 | 88.9624 | 88.635 | 88.3077 | 87.9758 | 87.5729 | 87.17 | 86.767 | 86.3641 | 85.9612 | 85.471 | 84.9226 | 84.3742 | 83.8258 | 83.2774 | 82.729 | 82.125 | 81.4375 | 80.75 | 80.0556 | 79.3333 | 78.6111 | 77.8889 | 77.1154 | 76.3077 | 75.5 | 74.6923 | 73.8846 | 73.0114 | 72.04 | 71.0686 | 70.0971 | 69.1 | 68.1 | 67.0359 | 65.9077 | 64.7795 | 63.6513 | 62.4889 | 61.3037 | 60.1185 | 58.875 | 57.625 | 56.2917 | 54.875 | 53.4583 | 52.0417 | 50.625 | 49.2118 | 47.8 | 46.1784 | 44.5568 | 42.9351 | 41.2667 | 39.528 | 37.848 | 36.168
Magna (IP) |  | 1-Magna 25-140 | 44.7 | 45.4 | 46.1 | 46.8 | 47.5 | 47.7 | 47.1 | 46.1 | 45.3 | 43.9 | 42.6 | 41.2 | 39.9 | 38.7 | 37.4 | 36.1 | 34.9 | 33.7 | 32.5 | 31.3 | 30.1 | 28.9 | 27.8 | 26.7 | 25.6 | 24.5 | 23.4 | 22.3 | 21.3 | 20.2 | 19.2 | 18.2 | 17.3 | 16.3 | 15.4 | 14.4 | 13.5 | 12.6 | 11.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2-Magna 25-140 | 44.7 | 45.05 | 45.4 | 45.75 | 46.1 | 46.45 | 46.8 | 47.15 | 47.5 | 47.6 | 47.7 | 47.4 | 47.1 | 46.6 | 46.1 | 45.7 | 45.3 | 44.6 | 43.9 | 43.25 | 42.6 | 41.9 | 41.2 | 40.55 | 39.9 | 39.3 | 38.7 | 38.05 | 37.4 | 36.75 | 36.1 | 35.5 | 34.9 | 34.3 | 33.7 | 33.1 | 32.5 | 31.9 | 31.3 | 30.7 | 30.1 | 29.5 | 28.9 | 28.35 | 27.8 | 27.25 | 26.7 | 26.15 | 25.6 | 25.05 | 24.5 | 23.95 | 23.4 | 22.85 | 22.3 | 21.8 | 21.3 | 20.75 | 20.2 | 19.7 | 19.2
|  | 3-Magna 25-140 | 44.7 | 44.9333 | 45.1667 | 45.4 | 45.6333 | 45.8667 | 46.1 | 46.3333 | 46.5667 | 46.8 | 47.0333 | 47.2667 | 47.5 | 47.5667 | 47.6333 | 47.7 | 47.5 | 47.3 | 47.1 | 46.7667 | 46.4333 | 46.1 | 45.8333 | 45.5667 | 45.3 | 44.8333 | 44.3667 | 43.9 | 43.4667 | 43.0333 | 42.6 | 42.1333 | 41.6667 | 41.2 | 40.7667 | 40.3333 | 39.9 | 39.5 | 39.1 | 38.7 | 38.2667 | 37.8333 | 37.4 | 36.9667 | 36.5333 | 36.1 | 35.7 | 35.3 | 34.9 | 34.5 | 34.1 | 33.7 | 33.3 | 32.9 | 32.5 | 32.1 | 31.7 | 31.3 | 30.9 | 30.5 | 30.1
UPM |  | 1-UPM25-85 | 28.6768 | 28.3639 | 28.099 | 27.8821 | 27.7132 | 26.9522 | 25.3293 | 23.7366 | 22.1741 | 20.6418 | 19.1397 | 17.6678 | 16.2261 | 14.8146 | 13.4333 | 12.0822 | 10.7613 | 9.4706 | 8.2101 | 6.9798 | 5.7797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2-UPM25-85 | 57.3536 | 56.7278 | 56.198 | 55.7642 | 55.4264 | 53.9044 | 50.6586 | 47.4732 | 44.3482 | 41.2836 | 38.2794 | 35.3356 | 32.4522 | 29.6292 | 26.8666 | 24.1644 | 21.5226 | 18.9412 | 16.4202 | 13.9596 | 11.5594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 3-UPM25-85 | 86.0304 | 85.0917 | 84.297 | 83.6463 | 83.1396 | 80.8566 | 75.9879 | 71.2098 | 66.5223 | 61.9254 | 57.4191 | 53.0034 | 48.6783 | 44.4438 | 40.2999 | 36.2466 | 32.2839 | 28.4118 | 24.6303 | 20.9394 | 17.3391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Basic |  | 1-Grundfos 26-99 | 32.5 | 32 | 31.5 | 31 | 30.2 | 29.8 | 29.1 | 28.5 | 27.8 | 27.05 | 26.3 | 25.5 | 24.6 | 23.9 | 23.1 | 22.2 | 21.2 | 20.2 | 19.2 | 18.3 | 17.3 | 16.2 | 15.2 | 14 | 12.9 | 11.8 | 10.4 | 9.1 | 8 | 6.5 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 |  | 2-Grundfos 26-99 | 65 | 64 | 63 | 62 | 60.4 | 59.6 | 58.2 | 57 | 55.6 | 54.1 | 52.6 | 51 | 49.2 | 47.8 | 46.2 | 44.4 | 42.4 | 40.4 | 38.4 | 36.6 | 34.6 | 32.4 | 30.4 | 28 | 25.8 | 23.6 | 20.8 | 18.2 | 16 | 13 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 2-Grundfos 26-116 | 75 | 73.6 | 72.2 | 71.4 | 69.8 | 68 | 66.2 | 65 | 63 | 62 | 60.4 | 58.2 | 56.4 | 55 | 53 | 51.6 | 49.8 | 48 | 46 | 44 | 42 | 39.8 | 37.8 | 35 | 32.2 | 29.5 | 26 | 22.75 | 20 | 16.25 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 3-Grundfos 26-99 | 97.5 | 96 | 94.5 | 93 | 90.6 | 89.4 | 87.3 | 85.5 | 83.4 | 81.15 | 78.9 | 76.5 | 73.8 | 71.7 | 69.3 | 66.6 | 63.6 | 60.6 | 57.6 | 54.9 | 51.9 | 48.6 | 45.6 | 42 | 38.7 | 35.4 | 31.2 | 27.3 | 24 | 19.5 | 15.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| External Pump: | 0 | 0: (0-3 = Basic, 4-7 = VS, 8 = None)
|  | Magna | 0: UPM
| Unit #1: | 0 | 0: 0; 3: Pump Combo Letter:
| Unit #2: | 0 | 0: 0; 3: Pump Combo Name:
| Unit #3: | 0 | 0: 0; 3: Refer to AJ39
| Unit Total: | 0 | 0: 0
BasicPumpCurve
| Pump Combo |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| 1= | 1-Grundfos 26-99 | 32.5 | 32 | 31.5 | 31 | 30.2 | 29.8 | 29.1 | 28.5 | 27.8 | 27.05 | 26.3 | 25.5 | 24.6 | 23.9 | 23.1 | 22.2 | 21.2 | 20.2 | 19.2 | 18.3 | 17.3 | 16.2 | 15.2 | 14 | 12.9 | 11.8 | 10.4 | 9.1 | 8 | 6.5 | 5.2
| 2= | 2-Grundfos 26-99 | 65 | 64 | 63 | 62 | 60.4 | 59.6 | 58.2 | 57 | 55.6 | 54.1 | 52.6 | 51 | 49.2 | 47.8 | 46.2 | 44.4 | 42.4 | 40.4 | 38.4 | 36.6 | 34.6 | 32.4 | 30.4 | 28 | 25.8 | 23.6 | 20.8 | 18.2 | 16 | 13 | 10.4
| 3= | 2-Grundfos 26-116 | 75 | 73.6 | 72.2 | 71.4 | 69.8 | 68 | 66.2 | 65 | 63 | 62 | 60.4 | 58.2 | 56.4 | 55 | 53 | 51.6 | 49.8 | 48 | 46 | 44 | 42 | 39.8 | 37.8 | 35 | 32.2 | 29.5 | 26 | 22.75 | 20 | 16.25 | 13
| 4= | 3-Grundfos 26-99 | 97.5 | 96 | 94.5 | 93 | 90.6 | 89.4 | 87.3 | 85.5 | 83.4 | 81.15 | 78.9 | 76.5 | 73.8 | 71.7 | 69.3 | 66.6 | 63.6 | 60.6 | 57.6 | 54.9 | 51.9 | 48.6 | 45.6 | 42 | 38.7 | 35.4 | 31.2 | 27.3 | 24 | 19.5 | 15.6
|  | Column # --> 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
|  | System Curve | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #VALUE! | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #VALUE!
1 | Column desc: | 0 | 0 | 32.5 | 65 | 75 | 97.5 | 0 | 32.5 | 65 | 75 | 97.5 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0
2 | sys gpm | 1 | #N/A | 32 | 64 | 73.6 | 96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1 | #VALUE! | 1 | #VALUE! | 1 | #VALUE! | 1
3 | sys head | 2 | #N/A | 31.5 | 63 | 72.2 | 94.5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 2 | #VALUE! | 2 | #VALUE! | 2 | #VALUE! | 2
4 | 1-2699 | 3 | #N/A | 31 | 62 | 71.4 | 93 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 3 | #VALUE! | 3 | #VALUE! | 3 | #VALUE! | 3
5 | 2-2699 | 4 | #N/A | 30.2 | 60.4 | 69.8 | 90.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4 | #VALUE! | 4 | #VALUE! | 4 | #VALUE! | 4
6 | 2-26116 | 5 | #N/A | 29.8 | 59.6 | 68 | 89.4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 5 | #VALUE! | 5 | #VALUE! | 5 | #VALUE! | 5
7 | 3-2699 | 6 | #N/A | 29.1 | 58.2 | 66.2 | 87.3 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 6 | #VALUE! | 6 | #VALUE! | 6 | #VALUE! | 6
8 | Calc sys* | 7 | #N/A | 28.5 | 57 | 65 | 85.5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 7 | #VALUE! | 7 | #VALUE! | 7 | #VALUE! | 7
| Find 1-2699 | 8 | #N/A | 27.8 | 55.6 | 63 | 83.4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 8 | #VALUE! | 8 | #VALUE! | 8 | #VALUE! | 8
9 | ft hd xing | 9 | #N/A | 27.05 | 54.1 | 62 | 81.15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 9 | #VALUE! | 9 | #VALUE! | 9 | #VALUE! | 9
| Find 2-2699 | 10 | #N/A | 26.3 | 52.6 | 60.4 | 78.9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 10 | #VALUE! | 10 | #VALUE! | 10 | #VALUE! | 10
10 | ft hd xing | 11 | #N/A | 25.5 | 51 | 58.2 | 76.5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 11 | #VALUE! | 11 | #VALUE! | 11 | #VALUE! | 11
| Find 2-26116 | 12 | #N/A | 24.6 | 49.2 | 56.4 | 73.8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 12 | #VALUE! | 12 | #VALUE! | 12 | #VALUE! | 12
11 | ft hd xing | 13 | #N/A | 23.9 | 47.8 | 55 | 71.7 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 13 | #VALUE! | 13 | #VALUE! | 13 | #VALUE! | 13
| Find 3-2699 | 14 | #N/A | 23.1 | 46.2 | 53 | 69.3 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 14 | #VALUE! | 14 | #VALUE! | 14 | #VALUE! | 14
12 | ft hd xing | 15 | #N/A | 22.2 | 44.4 | 51.6 | 66.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 15 | #VALUE! | 15 | #VALUE! | 15 | #VALUE! | 15
| Find 1-2699 | 16 | #N/A | 21.2 | 42.4 | 49.8 | 63.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 16 | #VALUE! | 16 | #VALUE! | 16 | #VALUE! | 16
13 | gpm xing | 17 | #N/A | 20.2 | 40.4 | 48 | 60.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 17 | #VALUE! | 17 | #VALUE! | 17 | #VALUE! | 17
14 | sys gpm | 18 | #N/A | 19.2 | 38.4 | 46 | 57.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 18 | #VALUE! | 18 | #VALUE! | 18 | #VALUE! | 18
| Find 2-2699 | 19 | #N/A | 18.3 | 36.6 | 44 | 54.9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 19 | #VALUE! | 19 | #VALUE! | 19 | #VALUE! | 19
15 | gpm xing | 20 | #VALUE! | 17.3 | 34.6 | 42 | 51.9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 20 | #VALUE! | 20 | #VALUE! | 20 | #VALUE! | 20
16 | sys gpm | 21 | #N/A | 16.2 | 32.4 | 39.8 | 48.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 21 | #VALUE! | 21 | #VALUE! | 21 | #VALUE! | 21
| Find 2-26116 | 22 | #N/A | 15.2 | 30.4 | 37.8 | 45.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 22 | #VALUE! | 22 | #VALUE! | 22 | #VALUE! | 22
17 | gpm xing | 23 | #N/A | 14 | 28 | 35 | 42 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 23 | #VALUE! | 23 | #VALUE! | 23 | #VALUE! | 23
18 | sys gpm | 24 | #N/A | 12.9 | 25.8 | 32.2 | 38.7 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 24 | #VALUE! | 24 | #VALUE! | 24 | #VALUE! | 24
| Find 3-2699 | 25 | #N/A | 11.8 | 23.6 | 29.5 | 35.4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 25 | #VALUE! | 25 | #VALUE! | 25 | #VALUE! | 25
19 | gpm xing | 26 | #N/A | 10.4 | 20.8 | 26 | 31.2 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 26 | #VALUE! | 26 | #VALUE! | 26 | #VALUE! | 26
| sys gpm | 27 | #N/A | 9.1 | 18.2 | 22.75 | 27.3 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 27 | #VALUE! | 27 | #VALUE! | 27 | #VALUE! | 27
|  | 28 | #N/A | 8 | 16 | 20 | 24 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 28 | #VALUE! | 28 | #VALUE! | 28 | #VALUE! | 28
|  | 29 | #N/A | 6.5 | 13 | 16.25 | 19.5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 29 | #VALUE! | 29 | #VALUE! | 29 | #VALUE! | 29
|  | 30 | #VALUE! | 5.2 | 10.4 | 13 | 15.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 30 | #VALUE! | 30 | #VALUE! | 30 | #VALUE! | 30
|  |  | gpm x 0.667 | 20 | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | <--Min. value of two columns
|  |  | gpm x 1 | 30 | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | <--gpm where sys curve crosses pump curve
|  |  | gpm x 1.33 | 40 | #VALUE!
If unit with internal Magna selected
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If external variable speed pump selected
|  | 80.6 | 79.9977 | 79.2407 | 78.5627 | 77.8847 | 77.0499 | 76.1014 | 75.1528 | 74.2043 | 73.2558 | 72.3073 | 71.3588 | 70.3333 | 69 | 67.6667 | 66.3333 | 64.8286 | 63.3048 | 61.781 | 60.2571 | 58.5167 | 56.6769 | 54.8308 | 52.9846 | 50.8364 | 48.6857 | 46.5619 | 44.4667 | 42.25 | 39.7765 | 37.5412 | 35.2222 | 32.7778 | 30.2571 | 27.6857 | 25.16 | 22.68 | 20.2 | 17.6909 | 15.13 | 12.5633 | 10.0967 | 7.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 86.6 | 85.9651 | 85.3408 | 84.7203 | 84.0998 | 83.4792 | 82.8496 | 82.2124 | 81.5752 | 80.9381 | 80.3009 | 79.6637 | 78.8895 | 78.1 | 77.3105 | 76.5095 | 75.6048 | 74.7 | 73.7952 | 72.8905 | 71.9 | 70.9 | 69.9 | 68.9 | 67.9 | 66.4414 | 65.2 | 63.8829 | 62.5659 | 61.2488 | 59.9317 | 58.3913 | 56.8261 | 55.2727 | 53.7273 | 52.1333 | 50.4667 | 48.78 | 47.08 | 45.36 | 43.61 | 41.71 | 39.8182 | 38 | 36.1818 | 34.2545 | 32.3152 | 30.3758 | 28.4 | 26.5 | 24.625 | 22.75 | 20.8 | 18.8448 | 16.9088 | 15 | 13.2 | 0 | 0 | 0 | 0
| 2-UPS32-160 High | 90.4 | 90.24 | 89.9444 | 89.617 | 89.2897 | 88.9624 | 88.635 | 88.3077 | 87.9758 | 87.5729 | 87.17 | 86.767 | 86.3641 | 85.9612 | 85.471 | 84.9226 | 84.3742 | 83.8258 | 83.2774 | 82.729 | 82.125 | 81.4375 | 80.75 | 80.0556 | 79.3333 | 78.6111 | 77.8889 | 77.1154 | 76.3077 | 75.5 | 74.6923 | 73.8846 | 73.0114 | 72.04 | 71.0686 | 70.0971 | 69.1 | 68.1 | 67.0359 | 65.9077 | 64.7795 | 63.6513 | 62.4889 | 61.3037 | 60.1185 | 58.875 | 57.625 | 56.2917 | 54.875 | 53.4583 | 52.0417 | 50.625 | 49.2118 | 47.8 | 46.1784 | 44.5568 | 42.9351 | 41.2667 | 39.528 | 37.848 | 36.168
If basic pump selected
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If unit with internal UPM selected
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leave as 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 80.6 | 79.9977 | 79.2407 | 78.5627 | 77.8847 | 77.0499 | 76.1014 | 75.1528 | 74.2043 | 73.2558 | 72.3073 | 71.3588 | 70.3333 | 69 | 67.6667 | 66.3333 | 64.8286 | 63.3048 | 61.781 | 60.2571 | 58.5167 | 56.6769 | 54.8308 | 52.9846 | 50.8364 | 48.6857 | 46.5619 | 44.4667 | 42.25 | 39.7765 | 37.5412 | 35.2222 | 32.7778 | 30.2571 | 27.6857 | 25.16 | 22.68 | 20.2 | 17.6909 | 15.13 | 12.5633 | 10.0967 | 7.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 86.6 | 85.9651 | 85.3408 | 84.7203 | 84.0998 | 83.4792 | 82.8496 | 82.2124 | 81.5752 | 80.9381 | 80.3009 | 79.6637 | 78.8895 | 78.1 | 77.3105 | 76.5095 | 75.6048 | 74.7 | 73.7952 | 72.8905 | 71.9 | 70.9 | 69.9 | 68.9 | 67.9 | 66.4414 | 65.2 | 63.8829 | 62.5659 | 61.2488 | 59.9317 | 58.3913 | 56.8261 | 55.2727 | 53.7273 | 52.1333 | 50.4667 | 48.78 | 47.08 | 45.36 | 43.61 | 41.71 | 39.8182 | 38 | 36.1818 | 34.2545 | 32.3152 | 30.3758 | 28.4 | 26.5 | 24.625 | 22.75 | 20.8 | 18.8448 | 16.9088 | 15 | 13.2 | 0 | 0 | 0 | 0
| 2-UPS32-160 High | 90.4 | 90.24 | 89.9444 | 89.617 | 89.2897 | 88.9624 | 88.635 | 88.3077 | 87.9758 | 87.5729 | 87.17 | 86.767 | 86.3641 | 85.9612 | 85.471 | 84.9226 | 84.3742 | 83.8258 | 83.2774 | 82.729 | 82.125 | 81.4375 | 80.75 | 80.0556 | 79.3333 | 78.6111 | 77.8889 | 77.1154 | 76.3077 | 75.5 | 74.6923 | 73.8846 | 73.0114 | 72.04 | 71.0686 | 70.0971 | 69.1 | 68.1 | 67.0359 | 65.9077 | 64.7795 | 63.6513 | 62.4889 | 61.3037 | 60.1185 | 58.875 | 57.625 | 56.2917 | 54.875 | 53.4583 | 52.0417 | 50.625 | 49.2118 | 47.8 | 46.1784 | 44.5568 | 42.9351 | 41.2667 | 39.528 | 37.848 | 36.168
Placehold
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
|  | 2-UPS32-160 High | 80.6 | 79.9977 | 79.2407 | 78.5627 | 77.8847 | 77.0499 | 76.1014 | 75.1528 | 74.2043 | 73.2558 | 72.3073 | 71.3588 | 70.3333 | 69 | 67.6667 | 66.3333 | 64.8286 | 63.3048 | 61.781 | 60.2571 | 58.5167 | 56.6769 | 54.8308 | 52.9846 | 50.8364 | 48.6857 | 46.5619 | 44.4667 | 42.25 | 39.7765 | 37.5412 | 35.2222 | 32.7778 | 30.2571 | 27.6857 | 25.16 | 22.68 | 20.2 | 17.6909 | 15.13 | 12.5633 | 10.0967 | 7.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 86.6 | 85.9651 | 85.3408 | 84.7203 | 84.0998 | 83.4792 | 82.8496 | 82.2124 | 81.5752 | 80.9381 | 80.3009 | 79.6637 | 78.8895 | 78.1 | 77.3105 | 76.5095 | 75.6048 | 74.7 | 73.7952 | 72.8905 | 71.9 | 70.9 | 69.9 | 68.9 | 67.9 | 66.4414 | 65.2 | 63.8829 | 62.5659 | 61.2488 | 59.9317 | 58.3913 | 56.8261 | 55.2727 | 53.7273 | 52.1333 | 50.4667 | 48.78 | 47.08 | 45.36 | 43.61 | 41.71 | 39.8182 | 38 | 36.1818 | 34.2545 | 32.3152 | 30.3758 | 28.4 | 26.5 | 24.625 | 22.75 | 20.8 | 18.8448 | 16.9088 | 15 | 13.2 | 0 | 0 | 0 | 0
|  |  | 90.4 | 90.24 | 89.9444 | 89.617 | 89.2897 | 88.9624 | 88.635 | 88.3077 | 87.9758 | 87.5729 | 87.17 | 86.767 | 86.3641 | 85.9612 | 85.471 | 84.9226 | 84.3742 | 83.8258 | 83.2774 | 82.729 | 82.125 | 81.4375 | 80.75 | 80.0556 | 79.3333 | 78.6111 | 77.8889 | 77.1154 | 76.3077 | 75.5 | 74.6923 | 73.8846 | 73.0114 | 72.04 | 71.0686 | 70.0971 | 69.1 | 68.1 | 67.0359 | 65.9077 | 64.7795 | 63.6513 | 62.4889 | 61.3037 | 60.1185 | 58.875 | 57.625 | 56.2917 | 54.875 | 53.4583 | 52.0417 | 50.625 | 49.2118 | 47.8 | 46.1784 | 44.5568 | 42.9351 | 41.2667 | 39.528 | 37.848 | 36.168
|  | Column # --> 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62
|  | System Curve | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #VALUE! | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #VALUE! | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #VALUE! | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
1 | Column desc: | 0 | 2: 0; 3: 80.6; 4: 86.6; 5: 90.4; 6: 0; 7: 80.6; 8: 86.6; 9: 90.4; 10: #VALUE!; 11: 0; 12: #VALUE!; 13: 0; 14: #VALUE!; 15: 0
2 | sys gpm | 1 | 2: #N/A; 3: 79.9977; 4: 85.9651; 5: 90.24; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 1; 12: #VALUE!; 13: 1; 14: #VALUE!; 15: 1
3 | 1-UPS60-150U Low | 2 | 2: #N/A; 3: 79.2407; 4: 85.3408; 5: 89.9444; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 2; 12: #VALUE!; 13: 2; 14: #VALUE!; 15: 2
4 | 1-UPS60-150U Med | 3 | 2: #N/A; 3: 78.5627; 4: 84.7203; 5: 89.617; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 3; 12: #VALUE!; 13: 3; 14: #VALUE!; 15: 3
5 | 1-UPS60-150U High | 4 | 2: #N/A; 3: 77.8847; 4: 84.0998; 5: 89.2897; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 4; 12: #VALUE!; 13: 4; 14: #VALUE!; 15: 4
6 | Calc sys* | 5 | 2: #N/A; 3: 77.0499; 4: 83.4792; 5: 88.9624; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 5; 12: #VALUE!; 13: 5; 14: #VALUE!; 15: 5
7 | Find Low | 6 | 2: #N/A; 3: 76.1014; 4: 82.8496; 5: 88.635; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 6; 12: #VALUE!; 13: 6; 14: #VALUE!; 15: 6
8 | ft hd xing | 7 | 2: #N/A; 3: 75.1528; 4: 82.2124; 5: 88.3077; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 7; 12: #VALUE!; 13: 7; 14: #VALUE!; 15: 7
| Find Med | 8 | 2: #N/A; 3: 74.2043; 4: 81.5752; 5: 87.9758; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 8; 12: #VALUE!; 13: 8; 14: #VALUE!; 15: 8
9 | ft hd xing | 9 | 2: #N/A; 3: 73.2558; 4: 80.9381; 5: 87.5729; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 9; 12: #VALUE!; 13: 9; 14: #VALUE!; 15: 9
| Find High | 10 | 2: #N/A; 3: 72.3073; 4: 80.3009; 5: 87.17; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 10; 12: #VALUE!; 13: 10; 14: #VALUE!; 15: 10
10 |  | 11 | 2: #N/A; 3: 71.3588; 4: 79.6637; 5: 86.767; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 11; 12: #VALUE!; 13: 11; 14: #VALUE!; 15: 11
|  | 12 | 2: #N/A; 3: 70.3333; 4: 78.8895; 5: 86.3641; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 12; 12: #VALUE!; 13: 12; 14: #VALUE!; 15: 12
11 | ft hd xing | 13 | 2: #N/A; 3: 69; 4: 78.1; 5: 85.9612; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 13; 12: #VALUE!; 13: 13; 14: #VALUE!; 15: 13
| Find 3-2699 | 14 | 2: #N/A; 3: 67.6667; 4: 77.3105; 5: 85.471; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 14; 12: #VALUE!; 13: 14; 14: #VALUE!; 15: 14
12 | ft hd xing | 15 | 2: #N/A; 3: 66.3333; 4: 76.5095; 5: 84.9226; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 15; 12: #VALUE!; 13: 15; 14: #VALUE!; 15: 15
| Find 1-2699 | 16 | 2: #N/A; 3: 64.8286; 4: 75.6048; 5: 84.3742; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 16; 12: #VALUE!; 13: 16; 14: #VALUE!; 15: 16
13 | gpm xing | 17 | 2: #N/A; 3: 63.3048; 4: 74.7; 5: 83.8258; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 17; 12: #VALUE!; 13: 17; 14: #VALUE!; 15: 17
14 | sys gpm | 18 | 2: #N/A; 3: 61.781; 4: 73.7952; 5: 83.2774; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 18; 12: #VALUE!; 13: 18; 14: #VALUE!; 15: 18
| Find 2-2699 | 19 | 2: #N/A; 3: 60.2571; 4: 72.8905; 5: 82.729; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 19; 12: #VALUE!; 13: 19; 14: #VALUE!; 15: 19
15 | gpm xing | 20 | 2: #VALUE!; 3: 58.5167; 4: 71.9; 5: 82.125; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 20; 12: #VALUE!; 13: 20; 14: #VALUE!; 15: 20
16 | sys gpm | 21 | 2: #N/A; 3: 56.6769; 4: 70.9; 5: 81.4375; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 21; 12: #VALUE!; 13: 21; 14: #VALUE!; 15: 21
| Find 2-26116 | 22 | 2: #N/A; 3: 54.8308; 4: 69.9; 5: 80.75; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 22; 12: #VALUE!; 13: 22; 14: #VALUE!; 15: 22
17 | gpm xing | 23 | 2: #N/A; 3: 52.9846; 4: 68.9; 5: 80.0556; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 23; 12: #VALUE!; 13: 23; 14: #VALUE!; 15: 23
18 | sys gpm | 24 | 2: #N/A; 3: 50.8364; 4: 67.9; 5: 79.3333; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 24; 12: #VALUE!; 13: 24; 14: #VALUE!; 15: 24
| Find 3-2699 | 25 | 2: #N/A; 3: 48.6857; 4: 66.4414; 5: 78.6111; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 25; 12: #VALUE!; 13: 25; 14: #VALUE!; 15: 25
19 | gpm xing | 26 | 2: #N/A; 3: 46.5619; 4: 65.2; 5: 77.8889; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 26; 12: #VALUE!; 13: 26; 14: #VALUE!; 15: 26
| sys gpm | 27 | 2: #N/A; 3: 44.4667; 4: 63.8829; 5: 77.1154; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 27; 12: #VALUE!; 13: 27; 14: #VALUE!; 15: 27
|  | 28 | 2: #N/A; 3: 42.25; 4: 62.5659; 5: 76.3077; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 28; 12: #VALUE!; 13: 28; 14: #VALUE!; 15: 28
|  | 29 | 2: #N/A; 3: 39.7765; 4: 61.2488; 5: 75.5; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 29; 12: #VALUE!; 13: 29; 14: #VALUE!; 15: 29
|  | 30 | 2: #VALUE!; 3: 37.5412; 4: 59.9317; 5: 74.6923; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 30; 12: #VALUE!; 13: 30; 14: #VALUE!; 15: 30
|  | 31 | 2: #N/A; 3: 35.2222; 4: 58.3913; 5: 73.8846; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 31; 12: #VALUE!; 13: 31; 14: #VALUE!; 15: 31
|  | 32 | 2: #N/A; 3: 32.7778; 4: 56.8261; 5: 73.0114; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 32; 12: #VALUE!; 13: 32; 14: #VALUE!; 15: 32
|  | 33 | 2: #N/A; 3: 30.2571; 4: 55.2727; 5: 72.04; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 33; 12: #VALUE!; 13: 33; 14: #VALUE!; 15: 33
|  | 34 | 2: #N/A; 3: 27.6857; 4: 53.7273; 5: 71.0686; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 34; 12: #VALUE!; 13: 34; 14: #VALUE!; 15: 34
|  | 35 | 2: #N/A; 3: 25.16; 4: 52.1333; 5: 70.0971; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 35; 12: #VALUE!; 13: 35; 14: #VALUE!; 15: 35
|  | 36 | 2: #N/A; 3: 22.68; 4: 50.4667; 5: 69.1; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 36; 12: #VALUE!; 13: 36; 14: #VALUE!; 15: 36
|  | 37 | 2: #N/A; 3: 20.2; 4: 48.78; 5: 68.1; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 37; 12: #VALUE!; 13: 37; 14: #VALUE!; 15: 37
|  | 38 | 2: #N/A; 3: 17.6909; 4: 47.08; 5: 67.0359; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 38; 12: #VALUE!; 13: 38; 14: #VALUE!; 15: 38
|  | 39 | 2: #N/A; 3: 15.13; 4: 45.36; 5: 65.9077; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 39; 12: #VALUE!; 13: 39; 14: #VALUE!; 15: 39
|  | 40 | 2: #VALUE!; 3: 12.5633; 4: 43.61; 5: 64.7795; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 40; 12: #VALUE!; 13: 40; 14: #VALUE!; 15: 40
|  | 41 | 2: #N/A; 3: 10.0967; 4: 41.71; 5: 63.6513; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 41; 12: #VALUE!; 13: 41; 14: #VALUE!; 15: 41
|  | 42 | 2: #N/A; 3: 7.46; 4: 39.8182; 5: 62.4889; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 42; 12: #VALUE!; 13: 42; 14: #VALUE!; 15: 42
|  | 43 | 2: #N/A; 3: 0; 4: 38; 5: 61.3037; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 43; 12: #VALUE!; 13: 43; 14: #VALUE!; 15: 43
|  | 44 | 2: #N/A; 3: 0; 4: 36.1818; 5: 60.1185; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 44; 12: #VALUE!; 13: 44; 14: #VALUE!; 15: 44
|  | 45 | 2: #N/A; 3: 0; 4: 34.2545; 5: 58.875; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 45; 12: #VALUE!; 13: 45; 14: #VALUE!; 15: 45
|  | 46 | 2: #N/A; 3: 0; 4: 32.3152; 5: 57.625; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 46; 12: #VALUE!; 13: 46; 14: #VALUE!; 15: 46
|  | 47 | 2: #N/A; 3: 0; 4: 30.3758; 5: 56.2917; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 47; 12: #VALUE!; 13: 47; 14: #VALUE!; 15: 47
|  | 48 | 2: #N/A; 3: 0; 4: 28.4; 5: 54.875; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 48; 12: #VALUE!; 13: 48; 14: #VALUE!; 15: 48
|  | 49 | 2: #N/A; 3: 0; 4: 26.5; 5: 53.4583; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 49; 12: #VALUE!; 13: 49; 14: #VALUE!; 15: 49
|  | 50 | 2: #N/A; 3: 0; 4: 24.625; 5: 52.0417; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 50; 12: #VALUE!; 13: 50; 14: #VALUE!; 15: 50
|  | 51 | 2: #N/A; 3: 0; 4: 22.75; 5: 50.625; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 51; 12: #VALUE!; 13: 51; 14: #VALUE!; 15: 51
|  | 52 | 2: #N/A; 3: 0; 4: 20.8; 5: 49.2118; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 52; 12: #VALUE!; 13: 52; 14: #VALUE!; 15: 52
|  | 53 | 2: #N/A; 3: 0; 4: 18.8448; 5: 47.8; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 53; 12: #VALUE!; 13: 53; 14: #VALUE!; 15: 53
|  | 54 | 2: #N/A; 3: 0; 4: 16.9088; 5: 46.1784; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 54; 12: #VALUE!; 13: 54; 14: #VALUE!; 15: 54
|  | 55 | 2: #N/A; 3: 0; 4: 15; 5: 44.5568; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 55; 12: #VALUE!; 13: 55; 14: #VALUE!; 15: 55
|  | 56 | 2: #N/A; 3: 0; 4: 13.2; 5: 42.9351; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 56; 12: #VALUE!; 13: 56; 14: #VALUE!; 15: 56
|  | 57 | 2: #N/A; 3: 0; 4: 0; 5: 41.2667; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 57; 12: #VALUE!; 13: 57; 14: #VALUE!; 15: 57
|  | 58 | 2: #N/A; 3: 0; 4: 0; 5: 39.528; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 58; 12: #VALUE!; 13: 58; 14: #VALUE!; 15: 58
|  | 59 | 2: #N/A; 3: 0; 4: 0; 5: 37.848; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 59; 12: #VALUE!; 13: 59; 14: #VALUE!; 15: 59
|  | 60 | 2: #N/A; 3: 0; 4: 0; 5: 36.168; 6: #VALUE!; 7: #VALUE!; 8: #VALUE!; 9: #VALUE!; 10: #VALUE!; 11: 60; 12: #VALUE!; 13: 60; 14: #VALUE!; 15: 60
|  |  | gpm x 0.667 | 20 | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! | <--Min. value of two columns
|  |  | gpm x 1 | 30 | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! | <--gpm where sys curve crosses pump curve
|  |  | gpm x 1.33 | 40 | #VALUE!

## Calcs (hidden)
[5 empty] | Antifreeze Vol. | 25 | Antifreeze | M |  | All antifreeze calcs done at 30 deg. Water calcs done at 50 deg.
[5 empty] | Pump combinaton | 0 | Circuits | 3 |  | All numbers from IOM * |  | 2.31
Unit #1: | TBW120 |  | Tranquility Med. Temp. W-to-W Closed Loop |  |  | 10 | gpm | 30 |  | Unit | Flow rate | PD @ 30 | PD @ 50 | Tons/Kw | Series Name | Min flow |  | Pipe size | Pipe ID-ft | Area-ft2 | GPM |  |  |  |  | Water |  |  |  | Ethanol
Unit | 42 |  | 20.5292 | ft. of head x | 1.0081 | Antifreeze corr. fact. = | 20.6955 | ft. of hd. |  | TT_026 | 6 | 7.161 | 5.313 | 2 | Tranquility 27™ Two-Stage | 4.5 |  | 0.75 | 0.071667 | 0.0040339 | 2 |  |  |  |  | Temperature | 50 | ºF |  | Conc | 25 | % - Volume
1" Hose Kit |  |  | 10 | ft. of hose x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd. |  | TT_038 | 9 | 15.939 | 12.012 | 3 | Tranquility 27™ Two-Stage | 6.75 |  | 1 | 0.08975 | 0.0063264 | 4 |  |  |  |  | Density | #VALUE! | lb/ft3 |  | Temp | 30 | ºF
1-1/4" Inside Piping |  |  | 60 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd. |  | TT_049 | 12 | 15.939 | 9.702 | 4 | Tranquility 27™ Two-Stage | 9 |  | 1.25 | 0.115 | 0.010387 | 6 |  |  |  |  | Cp | #VALUE! | Btu/lbm-ºF |  | Density | #VALUE! | lb/ft3
[6 empty] | Total Unit #1: | #VALUE! | ft. of hd. |  | TT_064 | 15 | 14.091 | 10.857 | 5 | Tranquility 27™ Two-Stage | 11.25 |  | 1.5 | 0.13417 | 0.014138 | 10 |  |  |  |  | k | #VALUE! | Btu/h-ft-ºF |  | Cp | #VALUE! | Btu/lbm-ºF
Unit #2: | [5 empty] | 0 | gpm | 0 |  | TT_072 | 17 | 17.556 | 13.86 | 6 | Tranquility 27™ Two-Stage | 13.5 |  | 2 | 0.17225 | 0.023303 | 13 |  |  |  |  | Viscosity | #VALUE! | lbm/ft-s |  | k | #VALUE! | Btu/h-ft-ºF
Unit |  |  | #N/A | ft. of head x |  | Antifreeze corr. fact. = |  | ft. of hd. |  | TZ_024 Magna 25-140 | 6 | 9.009 | 6.468 | 2 | Tranquility® 22 Digital | 4.5 | [13 empty] | Viscosity | #VALUE! | lbm/ft-s
1" Hose Kit |  |  | 4 | ft. of hose x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd. |  | TZ_030 Magna 25-140 | 7.5 | 11.781 | 8.085 | 2.5 | Tranquility® 22 Digital | 5.625 |  | Unit #1 |  |  |  | Inside Supply & Return Piping |  |  |  | Propylene Glycol |  |  |  | FP | #VALUE! | ºF
1-1/4" Inside Piping |  |  | 30 | ft. of pipe x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd. |  | TZ_036 Magna 25-140 | 9 | 9.24 | 6.699 | 3 | Tranquility® 22 Digital | 6.75 |  |  | Hose Kit | In. Pipe |  | Pipe Area | 0.010387 |  |  | Concentration | 25 | % - Volume
[6 empty] | Total Unit #2: | 0 | ft. of hd. |  | TZ_042 Magna 25-140 | 10.5 | 17.094 | 12.474 | 3.5 | Tranquility® 22 Digital | 7.875 |  | V | 10.566 | 6.4355 |  | V | 6.4355 |  |  | Temperature | 30 | ºF
Unit #3: | [5 empty] | 0 | gpm | 0 |  | TZ_048 Magna 25-140 | 12 | 15.015 | 12.705 | 4 | Tranquility® 22 Digital | 9 |  | RE | #VALUE! | #VALUE! |  | RE | #VALUE! |  |  | Density | #VALUE! | lb/ft3
Unit |  |  | #N/A | ft. of head x |  | Antifreeze corr. fact. = |  | ft. of hd. |  | TZ_060 Magna 25-140 | 14 | 18.711 | 16.2162 | 5 | Tranquility® 22 Digital | 11.25 |  | FF | #VALUE! | #VALUE! |  | FF | #VALUE! |  |  | Cp | #VALUE! | Btu/lbm-ºF
1" Hose Kit |  |  | 4 | ft. of hose x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd. |  | TZ_024 Motorized Valve | 6 | 12.7736 | 10.2326 | 2 | Tranquility® 22 Digital | 4.5 |  | PD | #VALUE! | #VALUE! |  | PD | #VALUE! |  |  | k | #VALUE! | Btu/h-ft-ºF
1-1/4" Inside Piping |  |  | 30 | ft. of pipe x |  | ft. of hd/100 ft. ¸ 100 = |  | ft. of hd. |  | TZ_030 Motorized Valve | 7.5 | 14.1539 | 10.4579 | 2.5 | Tranquility® 22 Digital | 5.6 | [9 empty] | Viscosity | #VALUE! | lbm/ft-s
[6 empty] | Total Unit #3: | 0 | ft. of hd. |  | TZ_036 Motorized Valve | 9 | 12.6569 | 10.1159 | 3 | Tranquility® 22 Digital | 6.8 |  | Unit #2 |  |  |  | Outside Supply & Return Piping |  |  |  | Freeze Point | #VALUE! | ºF
Unit Total (Largest of Total Unit #1, #2, and #3 - Units must be piped in parallel): | [6 empty] | #VALUE! | ft. of hd. |  | TZ_042 Motorized Valve | 10.5 | 19.6408 | 15.0208 | 3.5 | Tranquility® 22 Digital | 7.9 |  |  | Hose Kit | In. Pipe |  | Pipe Area | 0.010387
Inside Supply & Return Piping | [9 empty] | TZ_048 Motorized Valve | 12 | 18.3414 | 16.0314 | 4 | Tranquility® 22 Digital | 9 |  | V | 0 | 0 |  | V | 6.4355 |  |  | Ethylene Glycol
Pipe size: | 1.25 | in. |  | Total gpm: | 30 | (Design flow rate) |  |  |  | TZ_060 Motorized Valve | 14 | 19.9652 | 17.4704 | 5 | Tranquility® 22 Digital | 11.3 |  | RE | #VALUE! | #VALUE! |  | RE | #VALUE! |  |  | Concentration | 25 | % - Volume
|  |  | 10 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd. |  | TE_026 Magna 25-140 | 6 | 4.0336 | 3.594 | 2 | Tranquility 30™ Two-Stage | 4.5 |  | FF | #VALUE! | #VALUE! |  | FF | #VALUE! |  |  | Temperature | 30 | ºF
Outside Supply & Return Piping | [9 empty] | TE_038 Magna 25-140 | 9 | 9.0631 | 7.8718 | 3 | Tranquility 30™ Two-Stage | 6.75 |  | PD | #VALUE! | #VALUE! |  | PD | #VALUE! |  |  | Density | #VALUE! | lb/ft3
Pipe size: | 1.25 | in. |  | Total gpm: | 30 |  |  |  |  | TE_049 Magna 25-140 | 12 | 8.8262 | 8.0379 | 4 | Tranquility 30™ Two-Stage | 9 | [9 empty] | Cp | #VALUE! | Btu/lbm-ºF
|  |  | 100 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd. |  | TE_064 Magna 25-140 | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage | 11.25 |  | Unit #3 |  |  |  | Circuit Piping |  | Design |  | k | #VALUE! | Btu/h-ft-ºF
Circuit Piping | [9 empty] | TE_072 Magna 25-140 | 17 | 17.6225 | 13.9367 | 6 | Tranquility 30™ Two-Stage | 13.5 |  |  | Hose Kit | In. Pipe |  | Pipe Area | 0.0040339 |  |  | Viscosity | #VALUE! | lbm/ft-s
Pipe size: | 0.75 | in. |  | Design GPM/ckt: | 10 | Actual GPM/ckt = | 4 | gpm |  | TE_026 Motorized Valve | 6 | 7.7982 | 7.3586 | 2 | Tranquility 30™ Two-Stage | 4.5 |  | V | 0 | 0 |  | V | 0.00089127 | 5.5165 | <- v | Freeze Point | #VALUE! | ºF
|  |  | 480 | ft. of pipe x | #VALUE! | ft. of hd/100 ft. ¸ 100 = | #VALUE! | ft. of hd. |  | TE_038 Motorized Valve | 9 | 12.48 | 11.2887 | 3 | Tranquility 30™ Two-Stage | 6.75 |  | RE | #VALUE! | #VALUE! |  | RE | #VALUE! | 0.071667 | <- d
Fittings |  |  |  |  | 10 | (number of fittings) | 2 | ft. of hd. |  | TE_049 Motorized Valve | 12 | 14.9007 | 14.1124 | 4 | Tranquility 30™ Two-Stage | 9 |  | FF | #VALUE! | #VALUE! |  | FF | #VALUE! | #VALUE! | <- D | Methanol
Total Pressure Drop (A + B + C + D + E): |  |  |  |  | #VALUE! |  | #VALUE! | ft. of hd.** |  | TE_064 Motorized Valve | 15 | 19.311 | 16.0246 | 5 | Tranquility 30™ Two-Stage | 11.25 |  | PD | #VALUE! | #VALUE! |  | PD | #VALUE! | #VALUE! | <- U | Concentration | 25 | % - Volume
|  | FLOW RATE IS BELOW MINIMUM!! | [7 empty] | TE_072 Motorized Valve | 17 | 24.2984 | 20.6126 | 6 | Tranquility 30™ Two-Stage | 13.5 | [9 empty] | Temperature | 30 | ºF
Determine Pump Sizing Curve Coordinates | [9 empty] | TS_018 | 4.5 | 5.7 | 4.6 | 1.5 | Tranquility 20™ Single-Stage | 3.375 |  |  | #1 HK | #2 HK | #3 HK | #1 IP | #2 IP | #3 IP |  | Density | #VALUE! | lb/ft3
Tot. gpm (3 gpm/ton) = |  |  | 30 | [6 empty] | TS_024 | 6 | 4.4352 | 3.2571 | 2 | Tranquility 20™ Single-Stage | 4.5 |  | Re | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Cp | #VALUE! | Btu/lbm-ºF
Tot. pres. drop (Ft hd)= |  |  | #VALUE! | [6 empty] | TS_030 | 7.5 | 5.8674 | 5.082 | 2.5 | Tranquility 20™ Single-Stage | 5.625 |  | v | 10.5524 | 0 | 0 | 6.4272 | 0 | 0 |  | k | #VALUE! | Btu/h-ft-ºF
Tot. gpm x 2/3 = |  |  | 20 | [6 empty] | TS_036 | 9 | 9.24 | 7.4382 | 3 | Tranquility 20™ Single-Stage | 6.75 |  | d | 0.08975 | 0.08975 | 0.08975 | 0.115 | 0.115 | 0.115 |  | Viscosity | #VALUE! | lbm/ft-s
PD=(Q2^2)(h1)/(Q1^2) |  |  | #VALUE! | [6 empty] | TS_042 | 11 | 8.6625 | 7.7385 | 3.5 | Tranquility 20™ Single-Stage | 7.875 |  | D | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Freeze Point | #VALUE! | ºF
Tot. gpm x 4/3 = |  |  | 40 | [6 empty] | TS_048 | 12 | 9.009 | 7.3689 | 4 | Tranquility 20™ Single-Stage | 9 |  | U | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
PD=(Q3^2)(h1)/(Q1^2) |  |  | #VALUE! |  | Pump Sys = 12 gpm |  |  |  |  | TS_060 | 15 | 14.0679 | 10.857 | 5 | Tranquility 20™ Single-Stage | 11.25 |  | f | 30 | 0 | 0 | 30 | 0 | 0
[5 empty] | A |  |  |  |  | TS_070 | 18 | 18.7803 | 14.784 | 6 | Tranquility 20™ Single-Stage | 13.5 |  | di | 1 | 1 | 1 | 1.25 | 1.25 | 1.25
Plot System Curve & Determine Which Flow | [9 empty] | THW010 | 8.3 | 1.9635 | 1.6863 | 3 | Tranquility High Temp. Water-to-Water | 8.3
Controller Will Produce Desired Flow Rate. | [9 empty] | TMW036 | 9 | 16.401 | 13.86 | 3 | Tranquility Medium Temp. Water-to-Water | 6.75 |  | Actual | IS & R | OS & R | CP |  | TZ w/ MWV Correction @ 30 deg. | [7 empty] | TZ w/ MWV Correction @ 50 deg.
Pump Sys = 12 gpm |  |  | (to the nearest gpm) | [6 empty] | TMW060 | 15 | 15.939 | 14.322 | 5 | Tranquility Medium Temp. Water-to-Water | 11.25 |  | Re | #VALUE! | #VALUE! | #VALUE! |  | Model | gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd |  | Model | gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd
[10 empty] | TMW120 | 30 | 17.556 | 15.708 | 10 | Tranquility Medium Temp. Water-to-Water | 22.5 |  | v | 6.4272 | 6.4272 | 2.2066 |  | 024 | 6 | 9.009 | 4.7 | 1.6297 | 3.7646 | 12.7736 |  | 024 | 6 | 6.468 | 4.7 | 1.6297 | 3.7646 | 10.2326
Verify Circuit Reynolds Number: |  |  |  | #VALUE! | [5 empty] | QE_0930 No IP | 6.7 | 4.8 | 4.6 | 2 | Trilogy | 4.5 |  | d | 0.115 | 0.115 | 0.071667 |  | 030 | 7.5 | 11.781 | 7.4 | 1.0272 | 2.3729 | 14.1539 |  | 030 | 7.5 | 8.085 | 7.4 | 1.0272 | 2.3729 | 10.4579
|  | (Should be 2,500 or greater) | [7 empty] | QE_1860 No IP | 12.9 | 10 | 9.3 | 4 | Trilogy | 9 |  | D | #VALUE! | #VALUE! | #VALUE! |  | 036 | 9 | 9.24 | 7.4 | 1.4792 | 3.4169 | 12.6569 |  | 036 | 9 | 6.699 | 7.4 | 1.4792 | 3.4169 | 10.1159
[10 empty] | GS_015 | 3.8 | 3.465 | 3.234 | 1.25 | Genesis R-22 | 2.8125 |  | U | #VALUE! | #VALUE! | #VALUE! |  | 042 | 10.5 | 17.094 | 10 | 1.1025 | 2.5468 | 19.6408 |  | 042 | 10.5 | 12.474 | 10 | 1.1025 | 2.5468 | 15.0208
Calculate the Amount of Antifreeze Needed | [9 empty] | GS_018 | 4.5 | 4.158 | 4.158 | 1.5 | Genesis R-23 | 3.375 |  | f | 30 | 30 | 4 |  | 048 | 12 | 15.015 | 10 | 1.44 | 3.3264 | 18.3414 |  | 048 | 12 | 12.705 | 10 | 1.44 | 3.3264 | 16.0314
(Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons |  | GS_024 | 6 | 4.158 | 3.927 | 2 | Genesis R-24 | 4.5 |  | di | 1.25 | 1.25 | 0.75 |  | 060 | 14 | 18.711 | 19 | 0.54294 | 1.2542 | 19.9652 |  | 060 | 14 | 16.2162 | 19 | 0.54294 | 1.2542 | 17.4704
(Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons |  | GS_030 | 7.5 | 6.006 | 5.544 | 2.5 | Genesis R-25 | 5.625
(Pipe size: | 1.5 | ) | 220 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 23.98 | gallons |  | GS_036 | 9 | 9.009 | 8.547 | 3 | Genesis R-26 | 6.75 |  | Flow Rates | #2 IP: TE w/ MWV Correction @ 30 deg. | [6 empty] | TE w/ MWV Correction @ 50 deg.
(Pipe size: | 1.5 | ) | 0 | tot. feet x | 10.9 | volume/100 ft. ¸ 100 = | 0 | gallons |  | GS_042 | 10.5 | 11.781 | 10.857 | 3.5 | Genesis R-27 | 7.875 |  |  | Min. Flow | Tons |  |  | Model | gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd |  | Model | gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd
[6 empty] | Total fluid in loop: | 82.94 | gallons** |  | GS_048 | 12 | 14.784 | 13.629 | 4 | Genesis R-28 | 9 |  | Unit #1 | 22.5 | 10 |  |  | 26 | 6 | 4.0336 | 4.7 | 1.6297 | 3.7646 | 7.7982 |  | 26 | 6 | 3.594 | 4.7 | 1.6297 | 3.7646 | 7.3586
|  |  |  | Freeze Point of Selected Antifreeze: | #VALUE! | Antifreeze x | 25 | % by vol. |  | GS_060 | 15 | 8.316 | 7.854 | 5 | Genesis R-29 | 11.25 |  | Unit #2 | 0 | 0 |  |  | 38 | 9 | 9.0631 | 7.4 | 1.4792 | 3.4169 | 12.48 |  | 38 | 9 | 7.8718 | 7.4 | 1.4792 | 3.4169 | 11.2887
**Includes coax & flush cart. | [5 empty] | Total antifreeze req.: | 20.735 | gallons |  | GS_070 | 18 | 11.55 | 10.857 | 6 | Genesis R-30 | 13.5 |  | Unit #3 | 0 | 0 |  |  | 49 | 12 | 8.8262 | 7.4 | 2.6297 | 6.0745 | 14.9007 |  | 49 | 12 | 8.0379 | 7.4 | 2.6297 | 6.0745 | 14.1124
[6 empty] | Flushing requirements: | #VALUE! |  |  | PDW18 | 4.5 | 4.2 | 3.9 | 1.5 | Paradigm R-22 | 3.375 |  | Total Tons | #2 HK: 10; #2 IP: 64; #3 IP: 15 | 14.1135 | 10 | 2.25 | 5.1975 | 19.311 |  | 64 | 15 | 10.8271 | 10 | 2.25 | 5.1975 | 16.0246
[10 empty] | PDW24 | 6 | 4.158 | 3.927 | 2 | Paradigm R-23 | 4.5 |  | Actual Flow Rate | #2 HK: 12; #2 IP: 72; #3 IP: 17 | 17.6225 | 10 | 2.89 | 6.6759 | 24.2984 |  | 72 | 17 | 13.9367 | 10 | 2.89 | 6.6759 | 20.6126
| GPM @ 2fps | ckts | tot gpm |  | Pipe | GPM |  |  |  | PDW30 | 7.5 | 5.9 | 5.5 | 2.5 | Paradigm R-24 | 5.625 |  | Min. Sys. Flow Rate | #2 HK: 23
Flushing: | 10 | 1 | 10 |  | 3/4" | 4 |  |  |  | PDW36 | 9 | 9.009 | 8.547 | 3 | Paradigm R-25 | 6.75 |  | Nominal Flow Rate | #2 HK: 30
[5 empty] | 1" | 6 |  |  |  | PDW42 | 10.5 | 11.7 | 10.9 | 3.5 | Paradigm R-26 | 7.875 |  |  | #2 IP: TES w/ MWV Correction @ 30 deg. | [6 empty] | TES w/ MWV Correction @ 50 deg.
[5 empty] | 1-1/4" | 10 |  |  |  | PDW48 | 12 | 14.784 | 13.629 | 4 | Paradigm R-27 | 9 |  |  | #2 HK: 1; #2 IP: Model; #3 IP: gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd |  | Model | gpm | Unit ΔP (ft hd) | Valve Cv | Valve ΔP (psi) | Valve ΔP (ft hd) | Total ft hd
Flushing: | 10 | 1 | 10 |  | 1-1/2" | 13 |  |  |  | PDW60 | 15 | 8.316 | 7.854 | 5 | Paradigm R-28 | 11.25 |  |  | #2 HK: 22.5; #2 IP: 26; #3 IP: 6 | 7.1268 | 4.7 | 1.6297 | 3.7646 | 10.8914 |  | 26 | 6 | 5.2035 | 4.7 | 1.6297 | 3.7646 | 8.9681
[5 empty] | 2" | 21 |  |  |  | TE_026 UPM25-85 | 6 | 4.0336 | 3.594 | 2 | Tranquility 30™ Two-Stage | 4.5 |  |  | #2 IP: 38; #3 IP: 9 | 15.9714 | 7.4 | 1.4792 | 3.4169 | 19.3883 |  | 38 | 9 | 11.899 | 7.4 | 1.4792 | 3.4169 | 15.3159
[10 empty] | TE_038 UPM25-85 | 9 | 9.0631 | 7.8718 | 3 | Tranquility 30™ Two-Stage | 6.75 |  |  | #2 IP: 49; #3 IP: 12 | 10.5427 | 7.4 | 2.6297 | 6.0745 | 16.6172 |  | 49 | 12 | 9.6676 | 7.4 | 2.6297 | 6.0745 | 15.7421
Flushing: | 4 | 3 | 12 |  | <---- | ^^^ |  |  |  | QE_0930 UPM25-85 | 6.7 | 4.8 | 4.6 | 2 | Trilogy | 4.5 |  |  | #2 IP: 64; #3 IP: 15 | 14.1135 | 10 | 2.25 | 5.1975 | 19.311 |  | 64 | 15 | 10.8271 | 10 | 2.25 | 5.1975 | 16.0246
Max.: |  |  | 12 |  |  | Flushing |  |  |  | QE_0930 Magna 25-140 | 6.7 | 4.8 | 4.6 | 2 | Trilogy | 4.5
Ft. hd.: | #VALUE! | [8 empty] | QE_1860 Magna 25-140 | 12.9 | 10 | 9.3 | 4 | Trilogy | 9
[10 empty] | TEP026 Motorized Valve | 6 | 10.8914 | 8.9681 | 2 | Tranquility 30™ Two-Stage Split | 4.5
[10 empty] | TEP038 Motorized Valve | 9 | 19.3883 | 15.3159 | 3 | Tranquility 30™ Two-Stage Split | 6.75
| QE LI | Show QE? | Show TZ? | TZ LI |  |  | None or MWV? |  |  | TEP049 Motorized Valve | 12 | 16.6172 | 15.7421 | 4 | Tranquility 30™ Two-Stage Split | 9
#1 | 1 | 0 | 0 | 3 |  |  | 1 |  |  | TEP064 Motorized Valve | 15 | 19.311 | 16.0246 | 5 | Tranquility 30™ Two-Stage Split | 11.25
#2 | 0 | 0 | 0 | 0 | [5 empty] | TEP026 Magna 25-140 | 6 | 7.1268 | 5.2035 | 2 | Tranquility 30™ Two-Stage Split | 4.5
#3 | 0 | 0 | 0 | 0 | [5 empty] | TEP038 Magna 25-140 | 9 | 15.9714 | 11.899 | 3 | Tranquility 30™ Two-Stage Split | 6.75
[10 empty] | TEP049 Magna 25-140 | 12 | 10.5427 | 9.6676 | 4 | Tranquility 30™ Two-Stage Split | 9
[10 empty] | TEP064 Magna 25-140 | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage Split | 11.25
[10 empty] | TTS026 | 6 | 7.1268 | 5.2035 | 2 | Tranquility 27™ Two-Stage Split | 4.5
Original Calcs | [9 empty] | TTS038 | 9 | 15.9714 | 11.899 | 3 | Tranquility 27™ Two-Stage Split | 6.75
Velocity = ((Flow rate/(7.48*60))/Pipe Area-ft2) | [9 empty] | TTS049 | 12 | 10.5427 | 9.6676 | 4 | Tranquility 27™ Two-Stage Split | 9
Reynolds# = (Density*Velocity*3600*Pipe ID-ft)/Absol Viscosity | [9 empty] | TTS064 | 15 | 14.1135 | 10.8271 | 5 | Tranquility 27™ Two-Stage Split | 11.25
Friction factor = (0.3164/Re^0.25) | [9 empty] | TE_026 None | 6 | 4.0336 | 3.594 | 2 | Tranquility 30™ Two-Stage | 4.5
Press. Drop = Friction factor*(100/Pipe ID-ft)*((Flow rate*0.1337*0.1667)/Pipe area-ft)^2/64 | [9 empty] | TE_038 None | 9 | 9.0631 | 7.8718 | 3 | Tranquility 30™ Two-Stage | 6.75
v = average flow velocity of fluid (ft/sec) | [9 empty] | TE_049 None | 12 | 8.8262 | 8.0379 | 4 | Tranquility 30™ Two-Stage | 9
d = internal diameter of pipe (ft) | [9 empty] | TE_064 None | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage | 11.25
D = fluid density (lb/ft^3) | [9 empty] | TE_072 None | 17 | 17.6225 | 13.9367 | 6 | Tranquility 30™ Two-Stage | 13.5
u = fluid's dynamic viscosity (lb/ft/sec) | [9 empty] | TZ_024 None | 6 | 9.009 | 6.468 | 2 | Tranquility® 22 Digital | 4.5
f = flow rate through pipe (gpm) | [9 empty] | TZ_030 None | 7.5 | 11.781 | 8.085 | 2.5 | Tranquility® 22 Digital | 5.625
di = diameter of pipe (inches) | [9 empty] | TZ_036 None | 9 | 9.24 | 6.699 | 3 | Tranquility® 22 Digital | 6.75
[10 empty] | TZ_042 None | 10.5 | 17.094 | 12.474 | 3.5 | Tranquility® 22 Digital | 7.875
[10 empty] | TZ_048 None | 12 | 15.015 | 12.705 | 4 | Tranquility® 22 Digital | 9
[10 empty] | TZ_060 None | 14 | 18.711 | 16.2162 | 5 | Tranquility® 22 Digital | 11.25
[10 empty] | TZ_024 UPM25-85 | 6 | 9.009 | 6.468 | 2 | Tranquility® 22 Digital | 4.5
[10 empty] | TZ_030 UPM25-85 | 7.5 | 11.781 | 8.085 | 2.5 | Tranquility® 22 Digital | 5.625
[10 empty] | VE_0930 UPM25-85 | 6.7 | 4.8 | 4.6 | 2 | Trilogy 45 VE | 4.5
[10 empty] | VE_0930 Magna 25-140 | 6.7 | 4.8 | 4.6 | 2 | Trilogy 45 VE | 4.5
[10 empty] | VE_1860 Magna 25-140 | 12.9 | 10 | 9.3 | 4 | Trilogy 45 VE | 9
[10 empty] | VE_0930 No IP | 6.7 | 4.8 | 4.6 | 2 | Trilogy 45 VE | 4.5
[10 empty] | VE_1860 No IP | 12.9 | 10 | 9.3 | 4 | Trilogy 45 VE | 9
[10 empty] | TEP026 None | 6 | 7.1268 | 5.2035 | 2 | Tranquility 30™ Two-Stage Split | 4.5
[10 empty] | TEP038 None | 9 | 15.9714 | 11.899 | 3 | Tranquility 30™ Two-Stage Split | 6.75
[10 empty] | TEP049 None | 12 | 10.5427 | 9.6676 | 4 | Tranquility 30™ Two-Stage Split | 9
[10 empty] | TEP064 None | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage Split | 11.25
[10 empty] | TES026 None | 6 | 7.1268 | 5.2035 | 2 | Tranquility 30™ Two-Stage Split | 4.5
[10 empty] | TES038 None | 9 | 15.9714 | 11.899 | 3 | Tranquility 30™ Two-Stage Split | 6.75
[10 empty] | TES049 None | 12 | 10.5427 | 9.6676 | 4 | Tranquility 30™ Two-Stage Split | 9
[10 empty] | TES064 None | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage Split | 11.25
[10 empty] | TES026 Motorized Valve | 6 | 10.8914 | 8.9681 | 2 | Tranquility 30™ Two-Stage Split | 4.5
[10 empty] | TES038 Motorized Valve | 9 | 19.3883 | 15.3159 | 3 | Tranquility 30™ Two-Stage Split | 6.75
[10 empty] | TES049 Motorized Valve | 12 | 16.6172 | 15.7421 | 4 | Tranquility 30™ Two-Stage Split | 9
[10 empty] | TES064 Motorized Valve | 15 | 19.311 | 16.0246 | 5 | Tranquility 30™ Two-Stage Split | 11.25
[10 empty] | TES026 Magna 25-140 | 6 | 7.1268 | 5.2035 | 2 | Tranquility 30™ Two-Stage Split | 4.5
[10 empty] | TES038 Magna 25-140 | 9 | 15.9714 | 11.899 | 3 | Tranquility 30™ Two-Stage Split | 6.75
[10 empty] | TES049 Magna 25-140 | 12 | 10.5427 | 9.6676 | 4 | Tranquility 30™ Two-Stage Split | 9
[10 empty] | TES064 Magna 25-140 | 15 | 14.1135 | 10.8271 | 5 | Tranquility 30™ Two-Stage Split | 11.25
[10 empty] | TBW036 | 9 | 17.8282 | 15.3203 | 3 | Tranquility Med. Temp. W-to-W Closed Loop | 6.75
[10 empty] | TBW060 | 15 | 18.9356 | 17.2239 | 5 | Tranquility Med. Temp. W-to-W Closed Loop | 11.25
[10 empty] | TBW120 | 30 | 20.5292 | 18.6463 | 10 | Tranquility Med. Temp. W-to-W Closed Loop | 22.5
Pipe Size | Vol./100ft | Pipe type
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
0.75 | 2.8 | SDR11 | 0.36 | 1.21 | 2.47 | 4.08 | 6.04 | 8.3 | 10.87 | 13.74 | 16.88 | 20.3 | 23.99 | 27.93 | 32.13 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
1 | 4.5 | SDR11 | 0.12 | 0.42 | 0.85 | 1.41 | 2.09 | 2.87 | 3.76 | 4.76 | 5.84 | 7.03 | 8.3 | 9.67 | 11.12 | 12.66 | 14.29 | 16 | 17.79 | 19.66 | 21.61 | 23.64 | 25.75 | 27.93 | 30.19 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
1.25 | 8.3 | SCH40 | 0.04 | 0.13 | 0.26 | 0.43 | 0.64 | 0.88 | 1.15 | 1.45 | 1.79 | 2.15 | 2.54 | 2.95 | 3.4 | 3.87 | 4.37 | 4.89 | 5.44 | 6.01 | 6.6 | 7.22 | 7.87 | 8.53 | 9.23 | 9.94 | 10.67 | 11.43 | 12.225 | 13.02 | 13.855 | 14.69 | 15.565 | 16.44 | 17.36 | 18.28 | 19.245 | 20.21 | 21.21 | 22.21 | 23.255 | 24.3 | 25.38 | 26.46 | 27.585 | 28.71 | 29.87 | 31.03 | 999 | 999 | 999 | 999
1.5 | 10.9 | SCH40 | 0.02 | 0.06 | 0.13 | 0.21 | 0.31 | 0.42 | 0.55 | 0.7 | 0.86 | 1.03 | 1.22 | 1.42 | 1.63 | 1.86 | 2.1 | 2.35 | 2.61 | 2.89 | 3.17 | 3.47 | 3.78 | 4.1 | 4.44 | 4.78 | 5.13 | 5.5 | 5.88 | 6.26 | 6.66 | 7.06 | 7.485 | 7.91 | 8.35 | 8.79 | 9.25 | 9.71 | 10.195 | 10.68 | 11.18 | 11.68 | 12.2 | 12.72 | 13.26 | 13.8 | 14.36 | 14.92 | 15.495 | 16.07 | 16.665 | 17.26
2 | 17 | SCH40 | 0.01 | 0.02 | 0.04 | 0.06 | 0.09 | 0.13 | 0.17 | 0.21 | 0.26 | 0.32 | 0.37 | 0.43 | 0.5 | 0.57 | 0.64 | 0.72 | 0.8 | 0.88 | 0.97 | 1.06 | 1.15 | 1.25 | 1.35 | 1.46 | 1.57 | 1.68 | 1.795 | 1.91 | 2.035 | 2.16 | 2.285 | 2.41 | 2.545 | 2.68 | 2.825 | 2.97 | 3.115 | 3.26 | 3.415 | 3.57 | 3.725 | 3.88 | 4.045 | 4.21 | 4.38 | 4.55 | 4.73 | 4.91 | 5.09 | 5.27